## Sheet1
Audit Number: 98362
Date: 3/7/2020 Time: 1:32 PM
TV Discharge Report
Workspace: RUBY_FRA_Rev.B_v05_jal_LM
Study: UtilityArea
Equipment Item: 062-01-02-L
RUBY_FRA_Rev.B_v05_jal_LM\UtilityArea\062-01-02-L
Material | 062-01- diesel
East | 77.2 | m
North | -23.3 | m
Scenario (Time varying leak) : SM_EOBN
RUBY_FRA_Rev.B_v05_jal_LM\UtilityArea\062-01-02-L\062-01-02-L_SM\SM_EOBN
SM_EOBN
Weather: 6.6/D
| Mass calculation |  |  | Tank or stagnation data |  |  | Orifice or pipe exit data (before atmospheric expansion)
Time [s] | Mass remaining [kg] | Mass flow rate [kg/s] | Discharge coefficient | Liquid height [m] | Pressure [bar] | Temperature [degC] | Pressure [bar] | Temperature [degC] | Velocity [m/s]
0 | 2393.59 | 0.83774 | 0.6 | 0.49992 | 8.5132 | 45 | 1.0132 | 44.8383 | 50.4376
123 | 2393.59 | 0.83774 | 0.6 | 0.49992 | 8.5132 | 45 | 1.0132 | 44.8383 | 50.4376
123.105 | 2393.51 | 0.83773 | 0.6 | 0.4999 | 8.5132 | 45 | 1.0132 | 44.8383 | 50.4374
123.215 | 2393.41 | 0.83773 | 0.6 | 0.49989 | 8.5132 | 45 | 1.0132 | 44.8383 | 50.4373
123.331 | 2393.32 | 0.83773 | 0.6 | 0.49987 | 8.5131 | 44.9999 | 1.0132 | 44.8383 | 50.4371
123.453 | 2393.22 | 0.83772 | 0.6 | 0.49986 | 8.5131 | 44.9999 | 1.0132 | 44.8382 | 50.4369
123.58 | 2393.11 | 0.83772 | 0.6 | 0.49984 | 8.513 | 44.9999 | 1.0132 | 44.8382 | 50.4368
123.714 | 2393 | 0.83772 | 0.6 | 0.49982 | 8.513 | 44.9998 | 1.0132 | 44.8382 | 50.4366
123.855 | 2392.88 | 0.83771 | 0.6 | 0.4998 | 8.5129 | 44.9998 | 1.0132 | 44.8382 | 50.4364
124.003 | 2392.75 | 0.83771 | 0.6 | 0.49978 | 8.5128 | 44.9998 | 1.0132 | 44.8381 | 50.4362
124.158 | 2392.62 | 0.83771 | 0.6 | 0.49976 | 8.5128 | 44.9998 | 1.0132 | 44.8381 | 50.4359
124.321 | 2392.49 | 0.8377 | 0.6 | 0.49974 | 8.5127 | 44.9997 | 1.0132 | 44.8381 | 50.4357
124.492 | 2392.35 | 0.8377 | 0.6 | 0.49972 | 8.5126 | 44.9997 | 1.0132 | 44.838 | 50.4355
124.671 | 2392.19 | 0.8377 | 0.6 | 0.49969 | 8.5126 | 44.9996 | 1.0132 | 44.838 | 50.4352
124.86 | 2392.04 | 0.83769 | 0.6 | 0.49967 | 8.5125 | 44.9996 | 1.0132 | 44.838 | 50.435
125.058 | 2391.87 | 0.83769 | 0.6 | 0.49964 | 8.5124 | 44.9996 | 1.0132 | 44.8379 | 50.4347
125.266 | 2391.7 | 0.83768 | 0.6 | 0.49961 | 8.5123 | 44.9995 | 1.0132 | 44.8379 | 50.4344
125.484 | 2391.51 | 0.83768 | 0.6 | 0.49959 | 8.5122 | 44.9995 | 1.0132 | 44.8378 | 50.4341
125.713 | 2391.32 | 0.83767 | 0.6 | 0.49956 | 8.5121 | 44.9994 | 1.0132 | 44.8378 | 50.4337
125.954 | 2391.12 | 0.83767 | 0.6 | 0.49952 | 8.512 | 44.9994 | 1.0132 | 44.8377 | 50.4334
126.207 | 2390.91 | 0.83766 | 0.6 | 0.49949 | 8.5119 | 44.9993 | 1.0132 | 44.8377 | 50.4331
126.472 | 2390.69 | 0.83765 | 0.6 | 0.49945 | 8.5118 | 44.9993 | 1.0132 | 44.8376 | 50.4327
126.751 | 2390.45 | 0.83765 | 0.6 | 0.49941 | 8.5117 | 44.9992 | 1.0132 | 44.8376 | 50.4323
127.043 | 2390.21 | 0.83764 | 0.6 | 0.49938 | 8.5116 | 44.9991 | 1.0132 | 44.8375 | 50.4319
127.35 | 2389.95 | 0.83763 | 0.6 | 0.49933 | 8.5115 | 44.9991 | 1.0132 | 44.8374 | 50.4314
127.673 | 2389.68 | 0.83763 | 0.6 | 0.49929 | 8.5113 | 44.999 | 1.0132 | 44.8374 | 50.431
128.011 | 2389.4 | 0.83762 | 0.6 | 0.49925 | 8.5112 | 44.9989 | 1.0132 | 44.8373 | 50.4305
128.367 | 2389.1 | 0.83761 | 0.6 | 0.4992 | 8.511 | 44.9988 | 1.0132 | 44.8372 | 50.43
128.74 | 2388.79 | 0.8376 | 0.6 | 0.49915 | 8.5109 | 44.9988 | 1.0132 | 44.8371 | 50.4295
129.132 | 2388.46 | 0.83759 | 0.6 | 0.4991 | 8.5107 | 44.9987 | 1.0132 | 44.8371 | 50.4289
129.544 | 2388.11 | 0.83758 | 0.6 | 0.49904 | 8.5106 | 44.9986 | 1.0132 | 44.837 | 50.4284
129.976 | 2387.75 | 0.83757 | 0.6 | 0.49898 | 8.5104 | 44.9985 | 1.0132 | 44.8369 | 50.4277
130.43 | 2387.37 | 0.83756 | 0.6 | 0.49892 | 8.5102 | 44.9984 | 1.0132 | 44.8368 | 50.4271
130.906 | 2386.97 | 0.83755 | 0.6 | 0.49886 | 8.51 | 44.9983 | 1.0132 | 44.8367 | 50.4264
131.407 | 2386.55 | 0.83754 | 0.6 | 0.49879 | 8.5098 | 44.9982 | 1.0132 | 44.8366 | 50.4257
131.932 | 2386.11 | 0.83753 | 0.6 | 0.49872 | 8.5096 | 44.9981 | 1.0132 | 44.8365 | 50.425
132.484 | 2385.65 | 0.83752 | 0.6 | 0.49865 | 8.5094 | 44.998 | 1.0132 | 44.8364 | 50.4242
133.063 | 2385.17 | 0.8375 | 0.6 | 0.49857 | 8.5091 | 44.9978 | 1.0132 | 44.8363 | 50.4234
133.671 | 2384.66 | 0.83749 | 0.6 | 0.49849 | 8.5089 | 44.9977 | 1.0132 | 44.8361 | 50.4225
134.31 | 2384.12 | 0.83747 | 0.6 | 0.4984 | 8.5086 | 44.9976 | 1.0132 | 44.836 | 50.4216
134.98 | 2383.56 | 0.83746 | 0.6 | 0.49831 | 8.5083 | 44.9974 | 1.0132 | 44.8359 | 50.4207
135.684 | 2382.97 | 0.83744 | 0.6 | 0.49822 | 8.5081 | 44.9973 | 1.0132 | 44.8357 | 50.4197
136.423 | 2382.35 | 0.83742 | 0.6 | 0.49812 | 8.5077 | 44.9971 | 1.0132 | 44.8356 | 50.4187
137.199 | 2381.7 | 0.83741 | 0.6 | 0.49801 | 8.5074 | 44.9969 | 1.0132 | 44.8354 | 50.4176
138.014 | 2381.02 | 0.83739 | 0.6 | 0.4979 | 8.5071 | 44.9968 | 1.0132 | 44.8352 | 50.4164
138.87 | 2380.3 | 0.83737 | 0.6 | 0.49779 | 8.5067 | 44.9966 | 1.0132 | 44.8351 | 50.4152
139.769 | 2379.55 | 0.83735 | 0.6 | 0.49767 | 8.5064 | 44.9964 | 1.0132 | 44.8349 | 50.414
140.712 | 2378.76 | 0.83732 | 0.6 | 0.49754 | 8.506 | 44.9962 | 1.0132 | 44.8347 | 50.4126
141.703 | 2377.93 | 0.8373 | 0.6 | 0.49741 | 8.5056 | 44.996 | 1.0132 | 44.8345 | 50.4113
142.743 | 2377.06 | 0.83728 | 0.6 | 0.49727 | 8.5052 | 44.9957 | 1.0132 | 44.8343 | 50.4098
143.835 | 2376.15 | 0.83725 | 0.6 | 0.49712 | 8.5047 | 44.9955 | 1.0132 | 44.834 | 50.4083
144.982 | 2375.19 | 0.83722 | 0.6 | 0.49697 | 8.5042 | 44.9953 | 1.0132 | 44.8338 | 50.4066
146.186 | 2374.18 | 0.8372 | 0.6 | 0.49681 | 8.5038 | 44.995 | 1.0132 | 44.8335 | 50.4049
147.45 | 2373.12 | 0.83717 | 0.6 | 0.49664 | 8.5032 | 44.9947 | 1.0132 | 44.8333 | 50.4032
148.777 | 2372.01 | 0.83714 | 0.6 | 0.49646 | 8.5027 | 44.9944 | 1.0132 | 44.833 | 50.4013
150.171 | 2370.84 | 0.8371 | 0.6 | 0.49627 | 8.5021 | 44.9941 | 1.0132 | 44.8327 | 50.3993
151.635 | 2369.62 | 0.83707 | 0.6 | 0.49607 | 8.5015 | 44.9938 | 1.0132 | 44.8324 | 50.3973
153.172 | 2368.33 | 0.83704 | 0.6 | 0.49587 | 8.5009 | 44.9935 | 1.0132 | 44.8321 | 50.3951
154.785 | 2366.98 | 0.837 | 0.6 | 0.49565 | 8.5002 | 44.9931 | 1.0132 | 44.8318 | 50.3929
156.479 | 2365.57 | 0.83696 | 0.6 | 0.49542 | 8.4995 | 44.9928 | 1.0132 | 44.8314 | 50.3905
158.258 | 2364.08 | 0.83692 | 0.6 | 0.49518 | 8.4988 | 44.9924 | 1.0132 | 44.831 | 50.388
160.126 | 2362.52 | 0.83688 | 0.6 | 0.49493 | 8.498 | 44.992 | 1.0132 | 44.8307 | 50.3854
162.088 | 2360.88 | 0.83683 | 0.6 | 0.49467 | 8.4972 | 44.9916 | 1.0132 | 44.8302 | 50.3826
164.147 | 2359.15 | 0.83678 | 0.6 | 0.49439 | 8.4964 | 44.9911 | 1.0132 | 44.8298 | 50.3797
166.309 | 2357.34 | 0.83673 | 0.6 | 0.4941 | 8.4955 | 44.9906 | 1.0132 | 44.8294 | 50.3767
168.58 | 2355.45 | 0.83668 | 0.6 | 0.4938 | 8.4946 | 44.9901 | 1.0132 | 44.8289 | 50.3735
170.964 | 2353.45 | 0.83662 | 0.6 | 0.49348 | 8.4936 | 44.9896 | 1.0132 | 44.8284 | 50.3702
173.467 | 2351.36 | 0.83657 | 0.6 | 0.49314 | 8.4926 | 44.9891 | 1.0132 | 44.8279 | 50.3667
176.095 | 2349.16 | 0.83651 | 0.6 | 0.49279 | 8.4915 | 44.9885 | 1.0132 | 44.8273 | 50.363
178.855 | 2346.85 | 0.83644 | 0.6 | 0.49241 | 8.4904 | 44.9879 | 1.0132 | 44.8267 | 50.3591
181.753 | 2344.43 | 0.83637 | 0.6 | 0.49202 | 8.4892 | 44.9873 | 1.0132 | 44.8261 | 50.355
184.795 | 2341.89 | 0.8363 | 0.6 | 0.49161 | 8.488 | 44.9866 | 1.0132 | 44.8255 | 50.3508
187.99 | 2339.22 | 0.83623 | 0.6 | 0.49118 | 8.4867 | 44.9859 | 1.0132 | 44.8248 | 50.3463
191.345 | 2336.41 | 0.83615 | 0.6 | 0.49073 | 8.4853 | 44.9852 | 1.0132 | 44.8241 | 50.3416
194.867 | 2333.47 | 0.83607 | 0.6 | 0.49026 | 8.4839 | 44.9844 | 1.0132 | 44.8234 | 50.3367
198.565 | 2330.38 | 0.83599 | 0.6 | 0.48976 | 8.4824 | 44.9836 | 1.0132 | 44.8226 | 50.3315
202.449 | 2327.13 | 0.8359 | 0.6 | 0.48923 | 8.4808 | 44.9827 | 1.0132 | 44.8218 | 50.3261
206.526 | 2323.72 | 0.8358 | 0.6 | 0.48868 | 8.4791 | 44.9818 | 1.0132 | 44.8209 | 50.3204
210.807 | 2320.15 | 0.83571 | 0.6 | 0.48811 | 8.4774 | 44.9809 | 1.0132 | 44.82 | 50.3144
215.303 | 2316.39 | 0.8356 | 0.6 | 0.4875 | 8.4756 | 44.9799 | 1.0132 | 44.8191 | 50.3081
220.023 | 2312.45 | 0.83549 | 0.6 | 0.48686 | 8.4737 | 44.9789 | 1.0132 | 44.8181 | 50.3015
224.979 | 2308.31 | 0.83538 | 0.6 | 0.48619 | 8.4717 | 44.9778 | 1.0132 | 44.8171 | 50.2946
230.183 | 2303.97 | 0.83526 | 0.6 | 0.48549 | 8.4695 | 44.9766 | 1.0132 | 44.8159 | 50.2873
235.647 | 2299.4 | 0.83513 | 0.6 | 0.48475 | 8.4673 | 44.9754 | 1.0132 | 44.8148 | 50.2797
241.384 | 2294.61 | 0.835 | 0.6 | 0.48397 | 8.465 | 44.9741 | 1.0132 | 44.8136 | 50.2717
247.409 | 2289.58 | 0.83486 | 0.6 | 0.48316 | 8.4626 | 44.9728 | 1.0132 | 44.8123 | 50.2633
253.734 | 2284.3 | 0.83472 | 0.6 | 0.4823 | 8.46 | 44.9714 | 1.0132 | 44.8109 | 50.2545
260.376 | 2278.76 | 0.83457 | 0.6 | 0.4814 | 8.4573 | 44.9699 | 1.0132 | 44.8095 | 50.2452
267.35 | 2272.94 | 0.83441 | 0.6 | 0.48045 | 8.4545 | 44.9683 | 1.0132 | 44.808 | 50.2355
274.672 | 2266.83 | 0.83424 | 0.6 | 0.47946 | 8.4515 | 44.9667 | 1.0132 | 44.8064 | 50.2253
282.361 | 2260.42 | 0.83406 | 0.6 | 0.47842 | 8.4484 | 44.9649 | 1.0132 | 44.8047 | 50.2147
290.434 | 2253.69 | 0.83388 | 0.6 | 0.47732 | 8.4452 | 44.9631 | 1.0132 | 44.803 | 50.2034
298.91 | 2246.62 | 0.83369 | 0.6 | 0.47617 | 8.4418 | 44.9612 | 1.0132 | 44.8011 | 50.1917
307.811 | 2239.2 | 0.83348 | 0.6 | 0.47495 | 8.4382 | 44.9592 | 1.0132 | 44.7992 | 50.1793
317.157 | 2231.41 | 0.83327 | 0.6 | 0.47368 | 8.4345 | 44.957 | 1.0132 | 44.7971 | 50.1664
326.969 | 2223.24 | 0.83304 | 0.6 | 0.47234 | 8.4305 | 44.9548 | 1.0132 | 44.795 | 50.1528
337.273 | 2214.66 | 0.83281 | 0.6 | 0.47094 | 8.4264 | 44.9524 | 1.0132 | 44.7927 | 50.1385
348.091 | 2205.65 | 0.83256 | 0.6 | 0.46946 | 8.4221 | 44.9499 | 1.0132 | 44.7903 | 50.1235
359.451 | 2196.19 | 0.8323 | 0.6 | 0.46791 | 8.4175 | 44.9473 | 1.0132 | 44.7878 | 50.1078
371.379 | 2186.27 | 0.83203 | 0.6 | 0.46627 | 8.4128 | 44.9445 | 1.0132 | 44.7851 | 50.0914
383.903 | 2175.85 | 0.83175 | 0.6 | 0.46456 | 8.4078 | 44.9416 | 1.0132 | 44.7823 | 50.0741
397.053 | 2164.91 | 0.83145 | 0.6 | 0.46275 | 8.4025 | 44.9385 | 1.0132 | 44.7793 | 50.056
410.86 | 2153.43 | 0.83114 | 0.6 | 0.46086 | 8.3971 | 44.9353 | 1.0132 | 44.7762 | 50.037
425.358 | 2141.38 | 0.83081 | 0.6 | 0.45886 | 8.3913 | 44.9319 | 1.0132 | 44.7729 | 50.0171
440.581 | 2128.74 | 0.83047 | 0.6 | 0.45676 | 8.3853 | 44.9282 | 1.0132 | 44.7694 | 49.9962
456.565 | 2115.47 | 0.83011 | 0.6 | 0.45456 | 8.379 | 44.9244 | 1.0132 | 44.7658 | 49.9742
473.349 | 2101.54 | 0.82973 | 0.6 | 0.45224 | 8.3723 | 44.9204 | 1.0132 | 44.7619 | 49.9513
490.971 | 2086.92 | 0.82933 | 0.6 | 0.4498 | 8.3654 | 44.9161 | 1.0132 | 44.7578 | 49.9272
509.474 | 2071.58 | 0.82891 | 0.6 | 0.44723 | 8.3581 | 44.9116 | 1.0132 | 44.7535 | 49.9019
528.903 | 2055.48 | 0.82848 | 0.6 | 0.44453 | 8.3505 | 44.9069 | 1.0132 | 44.7489 | 49.8754
549.303 | 2038.58 | 0.82802 | 0.6 | 0.44169 | 8.3425 | 44.9019 | 1.0132 | 44.744 | 49.8476
570.724 | 2020.85 | 0.82754 | 0.6 | 0.43871 | 8.3342 | 44.8966 | 1.0132 | 44.7389 | 49.8185
593.215 | 2002.24 | 0.82704 | 0.6 | 0.43556 | 8.3254 | 44.891 | 1.0132 | 44.7335 | 49.788
616.83 | 1982.72 | 0.82651 | 0.6 | 0.43225 | 8.3162 | 44.885 | 1.0132 | 44.7278 | 49.756
641.627 | 1962.23 | 0.82596 | 0.6 | 0.42876 | 8.3066 | 44.8787 | 1.0132 | 44.7217 | 49.7225
667.663 | 1940.73 | 0.82539 | 0.6 | 0.4251 | 8.2966 | 44.872 | 1.0132 | 44.7152 | 49.6874
695.002 | 1918.17 | 0.82478 | 0.6 | 0.42123 | 8.286 | 44.865 | 1.0132 | 44.7084 | 49.6506
723.707 | 1894.51 | 0.82415 | 0.6 | 0.41716 | 8.275 | 44.8574 | 1.0132 | 44.7011 | 49.612
753.847 | 1869.68 | 0.82348 | 0.6 | 0.41287 | 8.2635 | 44.8495 | 1.0132 | 44.6934 | 49.5716
785.494 | 1843.62 | 0.82279 | 0.6 | 0.40835 | 8.2514 | 44.841 | 1.0132 | 44.6852 | 49.5293
818.724 | 1816.29 | 0.82206 | 0.6 | 0.40359 | 8.2388 | 44.832 | 1.0132 | 44.6765 | 49.485
853.615 | 1787.62 | 0.8213 | 0.6 | 0.39856 | 8.2256 | 44.8224 | 1.0132 | 44.6672 | 49.4385
890.251 | 1757.55 | 0.8205 | 0.6 | 0.39326 | 8.2118 | 44.8121 | 1.0132 | 44.6572 | 49.3899
928.718 | 1726 | 0.81966 | 0.6 | 0.38767 | 8.1973 | 44.8012 | 1.0132 | 44.6466 | 49.339
969.109 | 1692.91 | 0.81879 | 0.6 | 0.38177 | 8.1822 | 44.7895 | 1.0132 | 44.6353 | 49.2857
1011.52 | 1658.2 | 0.81787 | 0.6 | 0.37554 | 8.1664 | 44.7771 | 1.0132 | 44.6232 | 49.2299
1056.05 | 1621.8 | 0.81691 | 0.6 | 0.36896 | 8.1499 | 44.7637 | 1.0132 | 44.6102 | 49.1715
1102.81 | 1583.63 | 0.81591 | 0.6 | 0.362 | 8.1327 | 44.7494 | 1.0132 | 44.5963 | 49.1104
1151.9 | 1543.6 | 0.81486 | 0.6 | 0.35464 | 8.1147 | 44.734 | 1.0132 | 44.5813 | 49.0464
1203.45 | 1501.62 | 0.81376 | 0.6 | 0.34685 | 8.0959 | 44.7175 | 1.0132 | 44.5652 | 48.9794
1257.58 | 1457.6 | 0.81261 | 0.6 | 0.3386 | 8.0762 | 44.6996 | 1.0132 | 44.5478 | 48.9094
1314.42 | 1411.45 | 0.81141 | 0.6 | 0.32985 | 8.0557 | 44.6803 | 1.0132 | 44.5289 | 48.8361
1374.09 | 1363.06 | 0.81016 | 0.6 | 0.32057 | 8.0343 | 44.6593 | 1.0132 | 44.5085 | 48.7594
1436.75 | 1312.34 | 0.80884 | 0.6 | 0.31072 | 8.0119 | 44.6366 | 1.0132 | 44.4862 | 48.6792
1502.54 | 1259.17 | 0.80747 | 0.6 | 0.30023 | 7.9886 | 44.6117 | 1.0132 | 44.4619 | 48.5952
1571.63 | 1203.43 | 0.80603 | 0.6 | 0.28907 | 7.9642 | 44.5844 | 1.0132 | 44.4352 | 48.5074
1644.16 | 1145.02 | 0.80453 | 0.6 | 0.27716 | 7.9388 | 44.5545 | 1.0132 | 44.4058 | 48.4155
1720.33 | 1083.8 | 0.80297 | 0.6 | 0.26443 | 7.9123 | 44.5213 | 1.0132 | 44.3732 | 48.3193
1800.3 | 1019.66 | 0.80132 | 0.6 | 0.25078 | 7.8847 | 44.4843 | 1.0132 | 44.3369 | 48.2187
1884.27 | 952.44 | 0.79961 | 0.6 | 0.23611 | 7.8558 | 44.4426 | 1.0132 | 44.2959 | 48.1133
1972.43 | 882.02 | 0.79782 | 0.6 | 0.22027 | 7.8257 | 44.3955 | 1.0132 | 44.2495 | 48.0029
2065.01 | 808.249 | 0.79594 | 0.6 | 0.20311 | 7.7943 | 44.3418 | 1.0132 | 44.1965 | 47.8871
2162.22 | 730.975 | 0.79397 | 0.6 | 0.18437 | 7.7615 | 44.2791 | 1.0132 | 44.1346 | 47.7657
2264.28 | 650.043 | 0.79192 | 0.6 | 0.16374 | 7.7273 | 44.2041 | 1.0132 | 44.0605 | 47.6382
2371.45 | 565.291 | 0.78975 | 0.6 | 0.14073 | 7.6914 | 44.1128 | 1.0132 | 43.97 | 47.5033
2483.98 | 476.55 | 0.78747 | 0.6 | 0.11452 | 7.6536 | 43.9949 | 1.0132 | 43.8531 | 47.36
2602.13 | 383.65 | 0.78505 | 0.6 | 0.083524 | 7.6134 | 43.8347 | 1.0132 | 43.694 | 47.206
2726.2 | 286.417 | 0.78242 | 0.6 | 0.043067 | 7.5698 | 43.5861 | 1.0132 | 43.4465 | 47.0351
2796.9 | 231.152 | 0.78079 | 0.6 | 0.005037 | 7.5432 | 43.3606 | 1.0132 | 43.2218 | 46.9255
Scenario (Time varying leak) : SM_EXBN
RUBY_FRA_Rev.B_v05_jal_LM\UtilityArea\062-01-02-L\062-01-02-L_SM\SM_EXBN
SM_EXBN
Weather: 6.6/D
| Mass calculation |  |  | Tank or stagnation data |  |  | Orifice or pipe exit data (before atmospheric expansion)
Time [s] | Mass remaining [kg] | Mass flow rate [kg/s] | Discharge coefficient | Liquid height [m] | Pressure [bar] | Temperature [degC] | Pressure [bar] | Temperature [degC] | Velocity [m/s]
0 | 2393.59 | 0.83774 | 0.6 | 0.49992 | 8.5132 | 45 | 1.0132 | 44.8383 | 50.4376
123 | 2393.59 | 0.83774 | 0.6 | 0.49992 | 8.5132 | 45 | 1.0132 | 44.8383 | 50.4376
123 | 5306.76 | 0.83831 | 0.6 | 0.65187 | 8.5132 | 45 | 1.0132 | 44.8381 | 50.4724
123.105 | 5306.67 | 0.83831 | 0.6 | 0.65186 | 8.5132 | 45 | 1.0132 | 44.8381 | 50.4723
123.215 | 5306.57 | 0.83831 | 0.6 | 0.65185 | 8.5132 | 45 | 1.0132 | 44.8381 | 50.4723
123.331 | 5306.48 | 0.83831 | 0.6 | 0.65184 | 8.5132 | 45 | 1.0132 | 44.8381 | 50.4722
123.453 | 5306.38 | 0.83831 | 0.6 | 0.65183 | 8.5132 | 45 | 1.0132 | 44.8381 | 50.4721
123.58 | 5306.27 | 0.83831 | 0.6 | 0.65182 | 8.5131 | 44.9999 | 1.0132 | 44.8381 | 50.472
123.714 | 5306.16 | 0.83831 | 0.6 | 0.65181 | 8.5131 | 44.9999 | 1.0132 | 44.838 | 50.4719
123.855 | 5306.04 | 0.8383 | 0.6 | 0.6518 | 8.5131 | 44.9999 | 1.0132 | 44.838 | 50.4719
124.003 | 5305.91 | 0.8383 | 0.6 | 0.65179 | 8.5131 | 44.9999 | 1.0132 | 44.838 | 50.4718
124.158 | 5305.78 | 0.8383 | 0.6 | 0.65177 | 8.513 | 44.9999 | 1.0132 | 44.838 | 50.4717
124.321 | 5305.65 | 0.8383 | 0.6 | 0.65176 | 8.513 | 44.9999 | 1.0132 | 44.838 | 50.4716
124.492 | 5305.5 | 0.8383 | 0.6 | 0.65175 | 8.513 | 44.9999 | 1.0132 | 44.838 | 50.4714
124.671 | 5305.35 | 0.8383 | 0.6 | 0.65173 | 8.5129 | 44.9998 | 1.0132 | 44.838 | 50.4713
124.86 | 5305.2 | 0.83829 | 0.6 | 0.65172 | 8.5129 | 44.9998 | 1.0132 | 44.8379 | 50.4712
125.058 | 5305.03 | 0.83829 | 0.6 | 0.6517 | 8.5129 | 44.9998 | 1.0132 | 44.8379 | 50.4711
125.266 | 5304.86 | 0.83829 | 0.6 | 0.65169 | 8.5128 | 44.9998 | 1.0132 | 44.8379 | 50.4709
125.484 | 5304.67 | 0.83829 | 0.6 | 0.65167 | 8.5128 | 44.9998 | 1.0132 | 44.8379 | 50.4708
125.713 | 5304.48 | 0.83828 | 0.6 | 0.65165 | 8.5128 | 44.9997 | 1.0132 | 44.8379 | 50.4707
125.954 | 5304.28 | 0.83828 | 0.6 | 0.65163 | 8.5127 | 44.9997 | 1.0132 | 44.8378 | 50.4705
126.207 | 5304.07 | 0.83828 | 0.6 | 0.65161 | 8.5127 | 44.9997 | 1.0132 | 44.8378 | 50.4703
126.472 | 5303.84 | 0.83828 | 0.6 | 0.65159 | 8.5126 | 44.9997 | 1.0132 | 44.8378 | 50.4702
126.751 | 5303.61 | 0.83827 | 0.6 | 0.65157 | 8.5126 | 44.9996 | 1.0132 | 44.8378 | 50.47
127.043 | 5303.37 | 0.83827 | 0.6 | 0.65155 | 8.5125 | 44.9996 | 1.0132 | 44.8377 | 50.4698
127.35 | 5303.11 | 0.83827 | 0.6 | 0.65152 | 8.5124 | 44.9996 | 1.0132 | 44.8377 | 50.4696
127.673 | 5302.84 | 0.83826 | 0.6 | 0.6515 | 8.5124 | 44.9995 | 1.0132 | 44.8377 | 50.4694
128.011 | 5302.55 | 0.83826 | 0.6 | 0.65147 | 8.5123 | 44.9995 | 1.0132 | 44.8376 | 50.4692
128.367 | 5302.26 | 0.83826 | 0.6 | 0.65144 | 8.5123 | 44.9995 | 1.0132 | 44.8376 | 50.469
128.74 | 5301.94 | 0.83825 | 0.6 | 0.65141 | 8.5122 | 44.9994 | 1.0132 | 44.8376 | 50.4687
129.132 | 5301.61 | 0.83825 | 0.6 | 0.65138 | 8.5121 | 44.9994 | 1.0132 | 44.8375 | 50.4685
129.544 | 5301.27 | 0.83825 | 0.6 | 0.65135 | 8.512 | 44.9994 | 1.0132 | 44.8375 | 50.4682
129.976 | 5300.91 | 0.83824 | 0.6 | 0.65132 | 8.512 | 44.9993 | 1.0132 | 44.8375 | 50.4679
130.43 | 5300.53 | 0.83823 | 0.6 | 0.65128 | 8.5119 | 44.9993 | 1.0132 | 44.8374 | 50.4676
130.906 | 5300.13 | 0.83823 | 0.6 | 0.65124 | 8.5118 | 44.9992 | 1.0132 | 44.8374 | 50.4673
131.407 | 5299.71 | 0.83822 | 0.6 | 0.6512 | 8.5117 | 44.9992 | 1.0132 | 44.8373 | 50.467
131.932 | 5299.27 | 0.83822 | 0.6 | 0.65116 | 8.5116 | 44.9991 | 1.0132 | 44.8373 | 50.4667
132.484 | 5298.81 | 0.83821 | 0.6 | 0.65112 | 8.5115 | 44.9991 | 1.0132 | 44.8372 | 50.4663
133.063 | 5298.32 | 0.83821 | 0.6 | 0.65107 | 8.5114 | 44.999 | 1.0132 | 44.8372 | 50.466
133.671 | 5297.81 | 0.8382 | 0.6 | 0.65102 | 8.5113 | 44.999 | 1.0132 | 44.8371 | 50.4656
134.31 | 5297.28 | 0.83819 | 0.6 | 0.65097 | 8.5112 | 44.9989 | 1.0132 | 44.8371 | 50.4652
134.98 | 5296.71 | 0.83819 | 0.6 | 0.65092 | 8.511 | 44.9988 | 1.0132 | 44.837 | 50.4647
135.684 | 5296.12 | 0.83818 | 0.6 | 0.65087 | 8.5109 | 44.9988 | 1.0132 | 44.8369 | 50.4643
136.423 | 5295.5 | 0.83817 | 0.6 | 0.65081 | 8.5108 | 44.9987 | 1.0132 | 44.8369 | 50.4638
137.199 | 5294.85 | 0.83816 | 0.6 | 0.65075 | 8.5106 | 44.9986 | 1.0132 | 44.8368 | 50.4633
138.014 | 5294.17 | 0.83815 | 0.6 | 0.65068 | 8.5105 | 44.9985 | 1.0132 | 44.8367 | 50.4628
138.87 | 5293.45 | 0.83815 | 0.6 | 0.65061 | 8.5103 | 44.9985 | 1.0132 | 44.8366 | 50.4623
139.769 | 5292.7 | 0.83814 | 0.6 | 0.65054 | 8.5101 | 44.9984 | 1.0132 | 44.8365 | 50.4617
140.712 | 5291.91 | 0.83813 | 0.6 | 0.65047 | 8.51 | 44.9983 | 1.0132 | 44.8365 | 50.4611
141.703 | 5291.08 | 0.83812 | 0.6 | 0.65039 | 8.5098 | 44.9982 | 1.0132 | 44.8364 | 50.4604
142.743 | 5290.21 | 0.83811 | 0.6 | 0.65031 | 8.5096 | 44.9981 | 1.0132 | 44.8363 | 50.4598
143.835 | 5289.29 | 0.83809 | 0.6 | 0.65022 | 8.5094 | 44.998 | 1.0132 | 44.8362 | 50.4591
144.982 | 5288.33 | 0.83808 | 0.6 | 0.65013 | 8.5092 | 44.9979 | 1.0132 | 44.8361 | 50.4583
146.186 | 5287.32 | 0.83807 | 0.6 | 0.65004 | 8.509 | 44.9977 | 1.0132 | 44.8359 | 50.4576
147.45 | 5286.26 | 0.83806 | 0.6 | 0.64994 | 8.5087 | 44.9976 | 1.0132 | 44.8358 | 50.4568
148.777 | 5285.15 | 0.83804 | 0.6 | 0.64983 | 8.5085 | 44.9975 | 1.0132 | 44.8357 | 50.4559
150.171 | 5283.98 | 0.83803 | 0.6 | 0.64972 | 8.5082 | 44.9973 | 1.0132 | 44.8356 | 50.455
151.635 | 5282.76 | 0.83801 | 0.6 | 0.64961 | 8.5079 | 44.9972 | 1.0132 | 44.8354 | 50.4541
153.172 | 5281.47 | 0.838 | 0.6 | 0.64948 | 8.5077 | 44.9971 | 1.0132 | 44.8353 | 50.4531
154.785 | 5280.12 | 0.83798 | 0.6 | 0.64936 | 8.5074 | 44.9969 | 1.0132 | 44.8351 | 50.4521
156.479 | 5278.7 | 0.83796 | 0.6 | 0.64922 | 8.507 | 44.9967 | 1.0132 | 44.835 | 50.451
158.258 | 5277.21 | 0.83794 | 0.6 | 0.64908 | 8.5067 | 44.9966 | 1.0132 | 44.8348 | 50.4499
160.126 | 5275.64 | 0.83792 | 0.6 | 0.64894 | 8.5064 | 44.9964 | 1.0132 | 44.8346 | 50.4487
162.088 | 5274 | 0.8379 | 0.6 | 0.64878 | 8.506 | 44.9962 | 1.0132 | 44.8345 | 50.4474
164.147 | 5272.27 | 0.83788 | 0.6 | 0.64862 | 8.5056 | 44.996 | 1.0132 | 44.8343 | 50.4461
166.309 | 5270.46 | 0.83786 | 0.6 | 0.64845 | 8.5052 | 44.9958 | 1.0132 | 44.8341 | 50.4447
168.58 | 5268.56 | 0.83783 | 0.6 | 0.64827 | 8.5048 | 44.9956 | 1.0132 | 44.8339 | 50.4433
170.964 | 5266.56 | 0.83781 | 0.6 | 0.64808 | 8.5044 | 44.9953 | 1.0132 | 44.8336 | 50.4418
173.467 | 5264.47 | 0.83778 | 0.6 | 0.64788 | 8.5039 | 44.9951 | 1.0132 | 44.8334 | 50.4402
176.095 | 5262.26 | 0.83776 | 0.6 | 0.64767 | 8.5034 | 44.9948 | 1.0132 | 44.8332 | 50.4385
178.855 | 5259.95 | 0.83773 | 0.6 | 0.64746 | 8.5029 | 44.9945 | 1.0132 | 44.8329 | 50.4367
181.753 | 5257.53 | 0.83769 | 0.6 | 0.64723 | 8.5024 | 44.9943 | 1.0132 | 44.8326 | 50.4349
184.795 | 5254.98 | 0.83766 | 0.6 | 0.64699 | 8.5018 | 44.994 | 1.0132 | 44.8323 | 50.4329
187.99 | 5252.31 | 0.83763 | 0.6 | 0.64673 | 8.5012 | 44.9937 | 1.0132 | 44.832 | 50.4309
191.345 | 5249.5 | 0.83759 | 0.6 | 0.64647 | 8.5006 | 44.9933 | 1.0132 | 44.8317 | 50.4288
194.867 | 5246.55 | 0.83756 | 0.6 | 0.64619 | 8.5 | 44.993 | 1.0132 | 44.8314 | 50.4265
198.565 | 5243.45 | 0.83752 | 0.6 | 0.6459 | 8.4993 | 44.9926 | 1.0132 | 44.8311 | 50.4242
202.449 | 5240.2 | 0.83748 | 0.6 | 0.64559 | 8.4986 | 44.9922 | 1.0132 | 44.8307 | 50.4217
206.526 | 5236.79 | 0.83744 | 0.6 | 0.64527 | 8.4978 | 44.9918 | 1.0132 | 44.8303 | 50.4191
210.807 | 5233.2 | 0.83739 | 0.6 | 0.64493 | 8.497 | 44.9914 | 1.0132 | 44.8299 | 50.4164
215.303 | 5229.44 | 0.83734 | 0.6 | 0.64457 | 8.4962 | 44.991 | 1.0132 | 44.8295 | 50.4135
220.023 | 5225.49 | 0.83729 | 0.6 | 0.6442 | 8.4953 | 44.9905 | 1.0132 | 44.829 | 50.4105
224.979 | 5221.34 | 0.83724 | 0.6 | 0.64381 | 8.4944 | 44.99 | 1.0132 | 44.8286 | 50.4073
230.183 | 5216.98 | 0.83719 | 0.6 | 0.64339 | 8.4934 | 44.9895 | 1.0132 | 44.8281 | 50.404
235.647 | 5212.41 | 0.83713 | 0.6 | 0.64296 | 8.4924 | 44.989 | 1.0132 | 44.8276 | 50.4005
241.384 | 5207.61 | 0.83707 | 0.6 | 0.64251 | 8.4914 | 44.9884 | 1.0132 | 44.827 | 50.3969
247.409 | 5202.57 | 0.83701 | 0.6 | 0.64203 | 8.4903 | 44.9878 | 1.0132 | 44.8265 | 50.393
253.734 | 5197.28 | 0.83694 | 0.6 | 0.64153 | 8.4891 | 44.9872 | 1.0132 | 44.8259 | 50.389
260.376 | 5191.72 | 0.83687 | 0.6 | 0.641 | 8.4879 | 44.9866 | 1.0132 | 44.8252 | 50.3848
267.35 | 5185.89 | 0.8368 | 0.6 | 0.64045 | 8.4866 | 44.9859 | 1.0132 | 44.8246 | 50.3804
274.672 | 5179.76 | 0.83672 | 0.6 | 0.63987 | 8.4853 | 44.9851 | 1.0132 | 44.8239 | 50.3757
282.361 | 5173.33 | 0.83664 | 0.6 | 0.63926 | 8.4839 | 44.9844 | 1.0132 | 44.8231 | 50.3708
290.434 | 5166.58 | 0.83656 | 0.6 | 0.63862 | 8.4824 | 44.9836 | 1.0132 | 44.8224 | 50.3657
298.91 | 5159.49 | 0.83647 | 0.6 | 0.63794 | 8.4808 | 44.9827 | 1.0132 | 44.8216 | 50.3603
307.811 | 5152.05 | 0.83637 | 0.6 | 0.63724 | 8.4792 | 44.9819 | 1.0132 | 44.8207 | 50.3547
317.157 | 5144.24 | 0.83628 | 0.6 | 0.6365 | 8.4775 | 44.9809 | 1.0132 | 44.8198 | 50.3487
326.969 | 5136.03 | 0.83617 | 0.6 | 0.63572 | 8.4757 | 44.9799 | 1.0132 | 44.8189 | 50.3425
337.273 | 5127.42 | 0.83607 | 0.6 | 0.6349 | 8.4738 | 44.9789 | 1.0132 | 44.8179 | 50.3359
348.091 | 5118.38 | 0.83595 | 0.6 | 0.63404 | 8.4718 | 44.9778 | 1.0132 | 44.8169 | 50.3291
359.451 | 5108.88 | 0.83583 | 0.6 | 0.63313 | 8.4697 | 44.9767 | 1.0132 | 44.8158 | 50.3219
371.379 | 5098.92 | 0.83571 | 0.6 | 0.63218 | 8.4675 | 44.9755 | 1.0132 | 44.8146 | 50.3143
383.903 | 5088.45 | 0.83558 | 0.6 | 0.63118 | 8.4652 | 44.9742 | 1.0132 | 44.8134 | 50.3064
397.053 | 5077.47 | 0.83544 | 0.6 | 0.63014 | 8.4628 | 44.9729 | 1.0132 | 44.8122 | 50.2981
410.86 | 5065.94 | 0.8353 | 0.6 | 0.62904 | 8.4603 | 44.9715 | 1.0132 | 44.8108 | 50.2893
425.358 | 5053.83 | 0.83515 | 0.6 | 0.62788 | 8.4577 | 44.9701 | 1.0132 | 44.8094 | 50.2802
440.581 | 5041.12 | 0.83499 | 0.6 | 0.62666 | 8.4549 | 44.9685 | 1.0132 | 44.8079 | 50.2705
456.565 | 5027.77 | 0.83482 | 0.6 | 0.62539 | 8.452 | 44.9669 | 1.0132 | 44.8064 | 50.2604
473.349 | 5013.76 | 0.83465 | 0.6 | 0.62404 | 8.4489 | 44.9652 | 1.0132 | 44.8047 | 50.2498
490.971 | 4999.05 | 0.83447 | 0.6 | 0.62264 | 8.4457 | 44.9634 | 1.0132 | 44.803 | 50.2387
509.474 | 4983.62 | 0.83427 | 0.6 | 0.62116 | 8.4424 | 44.9615 | 1.0132 | 44.8012 | 50.227
528.903 | 4967.41 | 0.83407 | 0.6 | 0.6196 | 8.4389 | 44.9595 | 1.0132 | 44.7993 | 50.2148
549.303 | 4950.4 | 0.83386 | 0.6 | 0.61796 | 8.4352 | 44.9574 | 1.0132 | 44.7972 | 50.202
570.724 | 4932.54 | 0.83364 | 0.6 | 0.61624 | 8.4313 | 44.9551 | 1.0132 | 44.7951 | 50.1885
593.215 | 4913.79 | 0.8334 | 0.6 | 0.61444 | 8.4272 | 44.9528 | 1.0132 | 44.7929 | 50.1743
616.83 | 4894.11 | 0.83316 | 0.6 | 0.61254 | 8.4229 | 44.9504 | 1.0132 | 44.7905 | 50.1595
641.627 | 4873.45 | 0.8329 | 0.6 | 0.61054 | 8.4185 | 44.9478 | 1.0132 | 44.788 | 50.1439
667.663 | 4851.77 | 0.83264 | 0.6 | 0.60845 | 8.4138 | 44.945 | 1.0132 | 44.7854 | 50.1276
695.002 | 4829.01 | 0.83235 | 0.6 | 0.60624 | 8.4089 | 44.9422 | 1.0132 | 44.7826 | 50.1105
723.707 | 4805.12 | 0.83206 | 0.6 | 0.60393 | 8.4037 | 44.9391 | 1.0132 | 44.7797 | 50.0925
753.847 | 4780.05 | 0.83175 | 0.6 | 0.60149 | 8.3983 | 44.9359 | 1.0132 | 44.7766 | 50.0737
785.494 | 4753.73 | 0.83142 | 0.6 | 0.59893 | 8.3926 | 44.9326 | 1.0132 | 44.7734 | 50.0539
818.724 | 4726.11 | 0.83108 | 0.6 | 0.59623 | 8.3867 | 44.929 | 1.0132 | 44.77 | 50.0332
853.615 | 4697.12 | 0.83072 | 0.6 | 0.5934 | 8.3804 | 44.9252 | 1.0132 | 44.7663 | 50.0114
890.251 | 4666.69 | 0.83035 | 0.6 | 0.59042 | 8.3739 | 44.9213 | 1.0132 | 44.7625 | 49.9886
928.718 | 4634.76 | 0.82995 | 0.6 | 0.58729 | 8.3671 | 44.9171 | 1.0132 | 44.7585 | 49.9647
969.109 | 4601.24 | 0.82954 | 0.6 | 0.584 | 8.3599 | 44.9127 | 1.0132 | 44.7542 | 49.9397
1011.52 | 4566.07 | 0.82911 | 0.6 | 0.58053 | 8.3524 | 44.908 | 1.0132 | 44.7497 | 49.9134
1056.05 | 4529.16 | 0.82866 | 0.6 | 0.57688 | 8.3445 | 44.903 | 1.0132 | 44.745 | 49.8858
1102.81 | 4490.42 | 0.82818 | 0.6 | 0.57305 | 8.3363 | 44.8978 | 1.0132 | 44.7399 | 49.8569
1151.9 | 4449.77 | 0.82768 | 0.6 | 0.56901 | 8.3277 | 44.8923 | 1.0132 | 44.7346 | 49.8267
1203.45 | 4407.12 | 0.82716 | 0.6 | 0.56476 | 8.3186 | 44.8864 | 1.0132 | 44.7289 | 49.7949
1257.58 | 4362.36 | 0.82661 | 0.6 | 0.56029 | 8.3092 | 44.8802 | 1.0132 | 44.723 | 49.7617
1314.42 | 4315.39 | 0.82604 | 0.6 | 0.55557 | 8.2992 | 44.8737 | 1.0132 | 44.7166 | 49.7268
1374.09 | 4266.12 | 0.82544 | 0.6 | 0.55061 | 8.2889 | 44.8667 | 1.0132 | 44.7099 | 49.6903
1436.75 | 4214.41 | 0.82481 | 0.6 | 0.54539 | 8.278 | 44.8593 | 1.0132 | 44.7027 | 49.652
1502.54 | 4160.17 | 0.82415 | 0.6 | 0.53988 | 8.2666 | 44.8515 | 1.0132 | 44.6952 | 49.6119
1571.63 | 4103.25 | 0.82346 | 0.6 | 0.53408 | 8.2547 | 44.8431 | 1.0132 | 44.6871 | 49.5699
1644.16 | 4043.55 | 0.82274 | 0.6 | 0.52797 | 8.2423 | 44.8343 | 1.0132 | 44.6785 | 49.5259
1720.33 | 3980.91 | 0.82198 | 0.6 | 0.52152 | 8.2293 | 44.8248 | 1.0132 | 44.6694 | 49.4798
1800.3 | 3915.21 | 0.82119 | 0.6 | 0.51473 | 8.2156 | 44.8148 | 1.0132 | 44.6596 | 49.4316
1884.27 | 3846.29 | 0.82036 | 0.6 | 0.50755 | 8.2014 | 44.8041 | 1.0132 | 44.6492 | 49.381
1972.43 | 3773.99 | 0.81949 | 0.6 | 0.49999 | 8.1865 | 44.7926 | 1.0132 | 44.6382 | 49.3281
2065.01 | 3698.17 | 0.81858 | 0.6 | 0.49199 | 8.1709 | 44.7804 | 1.0132 | 44.6263 | 49.2726
2162.22 | 3618.64 | 0.81763 | 0.6 | 0.48355 | 8.1546 | 44.7673 | 1.0132 | 44.6135 | 49.2146
2264.28 | 3535.24 | 0.81663 | 0.6 | 0.47463 | 8.1376 | 44.7533 | 1.0132 | 44.5999 | 49.1539
2371.45 | 3447.77 | 0.81559 | 0.6 | 0.4652 | 8.1198 | 44.7382 | 1.0132 | 44.5852 | 49.0903
2483.98 | 3356.06 | 0.81449 | 0.6 | 0.45521 | 8.1013 | 44.722 | 1.0132 | 44.5695 | 49.0238
2602.13 | 3259.89 | 0.81335 | 0.6 | 0.44464 | 8.0819 | 44.7045 | 1.0132 | 44.5524 | 48.9541
2726.2 | 3159.05 | 0.81216 | 0.6 | 0.43344 | 8.0616 | 44.6856 | 1.0132 | 44.534 | 48.8813
2856.46 | 3053.34 | 0.81091 | 0.6 | 0.42156 | 8.0405 | 44.6651 | 1.0132 | 44.514 | 48.805
2993.24 | 2942.51 | 0.8096 | 0.6 | 0.40894 | 8.0184 | 44.6429 | 1.0132 | 44.4923 | 48.7252
3136.85 | 2826.34 | 0.80824 | 0.6 | 0.39553 | 7.9954 | 44.6187 | 1.0132 | 44.4686 | 48.6417
3287.65 | 2704.56 | 0.80681 | 0.6 | 0.38125 | 7.9714 | 44.5921 | 1.0132 | 44.4426 | 48.5543
3445.99 | 2576.93 | 0.80531 | 0.6 | 0.36603 | 7.9463 | 44.5629 | 1.0132 | 44.4139 | 48.4629
3600 | 2453.02 | 0.80387 | 0.6 | 0.35097 | 7.922 | 44.533 | 1.0132 | 44.3846 | 48.3742
Scenario (Time varying leak) : LM_EOBN
RUBY_FRA_Rev.B_v05_jal_LM\UtilityArea\062-01-02-L\062-01-02-L_LM\LM_EOBN
LM_EOBN
Weather: 6.6/D
| Mass calculation |  |  | Tank or stagnation data |  |  | Orifice or pipe exit data (before atmospheric expansion)
Time [s] | Mass remaining [kg] | Mass flow rate [kg/s] | Discharge coefficient | Liquid height [m] | Pressure [bar] | Temperature [degC] | Pressure [bar] | Temperature [degC] | Velocity [m/s]
0 | 2393.59 | 6.5019 | 0.6 | 0.49992 | 8.5132 | 45 | 1.0132 | 44.8383 | 50.4376
123 | 2393.59 | 6.5019 | 0.6 | 0.49992 | 8.5132 | 45 | 1.0132 | 44.8383 | 50.4376
123.105 | 2392.91 | 6.5018 | 0.6 | 0.49981 | 8.5129 | 44.9998 | 1.0132 | 44.8382 | 50.4364
123.215 | 2392.2 | 6.5016 | 0.6 | 0.49969 | 8.5126 | 44.9996 | 1.0132 | 44.838 | 50.4352
123.331 | 2391.44 | 6.5015 | 0.6 | 0.49957 | 8.5122 | 44.9994 | 1.0132 | 44.8378 | 50.434
123.453 | 2390.65 | 6.5013 | 0.6 | 0.49945 | 8.5118 | 44.9992 | 1.0132 | 44.8376 | 50.4326
123.58 | 2389.82 | 6.5011 | 0.6 | 0.49932 | 8.5114 | 44.999 | 1.0132 | 44.8374 | 50.4312
123.714 | 2388.95 | 6.5009 | 0.6 | 0.49917 | 8.511 | 44.9988 | 1.0132 | 44.8372 | 50.4298
123.855 | 2388.04 | 6.5007 | 0.6 | 0.49903 | 8.5105 | 44.9986 | 1.0132 | 44.837 | 50.4282
124.003 | 2387.08 | 6.5005 | 0.6 | 0.49888 | 8.5101 | 44.9983 | 1.0132 | 44.8367 | 50.4266
124.158 | 2386.07 | 6.5003 | 0.6 | 0.49871 | 8.5096 | 44.9981 | 1.0132 | 44.8365 | 50.4249
124.321 | 2385.01 | 6.5001 | 0.6 | 0.49854 | 8.509 | 44.9978 | 1.0132 | 44.8362 | 50.4231
124.492 | 2383.9 | 6.4999 | 0.6 | 0.49837 | 8.5085 | 44.9975 | 1.0132 | 44.8359 | 50.4213
124.671 | 2382.73 | 6.4996 | 0.6 | 0.49818 | 8.5079 | 44.9972 | 1.0132 | 44.8357 | 50.4193
124.86 | 2381.51 | 6.4993 | 0.6 | 0.49798 | 8.5073 | 44.9969 | 1.0132 | 44.8354 | 50.4173
125.058 | 2380.22 | 6.4991 | 0.6 | 0.49778 | 8.5067 | 44.9966 | 1.0132 | 44.835 | 50.4151
125.266 | 2378.87 | 6.4988 | 0.6 | 0.49756 | 8.506 | 44.9962 | 1.0132 | 44.8347 | 50.4128
125.484 | 2377.45 | 6.4985 | 0.6 | 0.49733 | 8.5053 | 44.9958 | 1.0132 | 44.8343 | 50.4104
125.713 | 2375.96 | 6.4981 | 0.6 | 0.49709 | 8.5046 | 44.9955 | 1.0132 | 44.834 | 50.4079
125.954 | 2374.4 | 6.4978 | 0.6 | 0.49684 | 8.5038 | 44.995 | 1.0132 | 44.8336 | 50.4053
126.207 | 2372.76 | 6.4975 | 0.6 | 0.49658 | 8.503 | 44.9946 | 1.0132 | 44.8332 | 50.4026
126.472 | 2371.03 | 6.4971 | 0.6 | 0.4963 | 8.5022 | 44.9942 | 1.0132 | 44.8328 | 50.3997
126.751 | 2369.22 | 6.4967 | 0.6 | 0.49601 | 8.5013 | 44.9937 | 1.0132 | 44.8323 | 50.3966
127.043 | 2367.32 | 6.4963 | 0.6 | 0.49571 | 8.5004 | 44.9932 | 1.0132 | 44.8318 | 50.3934
127.35 | 2365.33 | 6.4959 | 0.6 | 0.49539 | 8.4994 | 44.9927 | 1.0132 | 44.8314 | 50.3901
127.673 | 2363.24 | 6.4954 | 0.6 | 0.49505 | 8.4984 | 44.9922 | 1.0132 | 44.8308 | 50.3866
128.011 | 2361.04 | 6.4949 | 0.6 | 0.4947 | 8.4973 | 44.9916 | 1.0132 | 44.8303 | 50.3829
128.367 | 2358.73 | 6.4944 | 0.6 | 0.49433 | 8.4962 | 44.991 | 1.0132 | 44.8297 | 50.379
128.74 | 2356.3 | 6.4939 | 0.6 | 0.49394 | 8.495 | 44.9904 | 1.0132 | 44.8291 | 50.375
129.132 | 2353.76 | 6.4934 | 0.6 | 0.49353 | 8.4938 | 44.9897 | 1.0132 | 44.8285 | 50.3707
129.544 | 2351.09 | 6.4928 | 0.6 | 0.4931 | 8.4925 | 44.989 | 1.0132 | 44.8278 | 50.3662
129.976 | 2348.28 | 6.4922 | 0.6 | 0.49264 | 8.4911 | 44.9883 | 1.0132 | 44.8271 | 50.3615
130.43 | 2345.34 | 6.4916 | 0.6 | 0.49217 | 8.4897 | 44.9875 | 1.0132 | 44.8264 | 50.3566
130.906 | 2342.25 | 6.4909 | 0.6 | 0.49167 | 8.4882 | 44.9867 | 1.0132 | 44.8256 | 50.3514
131.407 | 2339 | 6.4902 | 0.6 | 0.49115 | 8.4866 | 44.9859 | 1.0132 | 44.8248 | 50.346
131.932 | 2335.59 | 6.4895 | 0.6 | 0.4906 | 8.4849 | 44.985 | 1.0132 | 44.8239 | 50.3402
132.484 | 2332.01 | 6.4887 | 0.6 | 0.49002 | 8.4832 | 44.984 | 1.0132 | 44.823 | 50.3342
133.063 | 2328.26 | 6.4879 | 0.6 | 0.48942 | 8.4813 | 44.983 | 1.0132 | 44.8221 | 50.328
133.671 | 2324.31 | 6.4871 | 0.6 | 0.48878 | 8.4794 | 44.982 | 1.0132 | 44.8211 | 50.3214
134.31 | 2320.17 | 6.4862 | 0.6 | 0.48811 | 8.4774 | 44.9809 | 1.0132 | 44.8201 | 50.3144
134.98 | 2315.83 | 6.4853 | 0.6 | 0.48741 | 8.4753 | 44.9798 | 1.0132 | 44.819 | 50.3072
135.684 | 2311.26 | 6.4843 | 0.6 | 0.48667 | 8.4731 | 44.9786 | 1.0132 | 44.8178 | 50.2995
136.423 | 2306.47 | 6.4833 | 0.6 | 0.4859 | 8.4708 | 44.9773 | 1.0132 | 44.8166 | 50.2915
137.199 | 2301.44 | 6.4822 | 0.6 | 0.48508 | 8.4683 | 44.976 | 1.0132 | 44.8153 | 50.2831
138.014 | 2296.16 | 6.4811 | 0.6 | 0.48422 | 8.4657 | 44.9745 | 1.0132 | 44.8139 | 50.2743
138.87 | 2290.61 | 6.4799 | 0.6 | 0.48333 | 8.4631 | 44.9731 | 1.0132 | 44.8125 | 50.265
139.769 | 2284.79 | 6.4786 | 0.6 | 0.48238 | 8.4602 | 44.9715 | 1.0132 | 44.811 | 50.2553
140.712 | 2278.68 | 6.4773 | 0.6 | 0.48139 | 8.4573 | 44.9699 | 1.0132 | 44.8095 | 50.2451
141.703 | 2272.27 | 6.476 | 0.6 | 0.48035 | 8.4542 | 44.9681 | 1.0132 | 44.8078 | 50.2344
142.743 | 2265.53 | 6.4745 | 0.6 | 0.47925 | 8.4509 | 44.9663 | 1.0132 | 44.8061 | 50.2232
143.835 | 2258.46 | 6.473 | 0.6 | 0.4781 | 8.4475 | 44.9644 | 1.0132 | 44.8042 | 50.2114
144.982 | 2251.04 | 6.4714 | 0.6 | 0.47689 | 8.4439 | 44.9624 | 1.0132 | 44.8023 | 50.199
146.186 | 2243.25 | 6.4698 | 0.6 | 0.47562 | 8.4402 | 44.9603 | 1.0132 | 44.8002 | 50.1861
147.45 | 2235.07 | 6.468 | 0.6 | 0.47428 | 8.4362 | 44.958 | 1.0132 | 44.7981 | 50.1724
148.777 | 2226.49 | 6.4662 | 0.6 | 0.47287 | 8.4321 | 44.9557 | 1.0132 | 44.7958 | 50.1582
150.171 | 2217.48 | 6.4643 | 0.6 | 0.4714 | 8.4277 | 44.9532 | 1.0132 | 44.7934 | 50.1432
151.635 | 2208.02 | 6.4623 | 0.6 | 0.46985 | 8.4232 | 44.9506 | 1.0132 | 44.7909 | 50.1275
153.172 | 2198.09 | 6.4602 | 0.6 | 0.46822 | 8.4184 | 44.9478 | 1.0132 | 44.7883 | 50.111
154.785 | 2187.66 | 6.458 | 0.6 | 0.4665 | 8.4134 | 44.9449 | 1.0132 | 44.7855 | 50.0937
156.479 | 2176.72 | 6.4557 | 0.6 | 0.4647 | 8.4082 | 44.9418 | 1.0132 | 44.7825 | 50.0756
158.258 | 2165.24 | 6.4532 | 0.6 | 0.46281 | 8.4027 | 44.9386 | 1.0132 | 44.7794 | 50.0565
160.126 | 2153.19 | 6.4507 | 0.6 | 0.46081 | 8.3969 | 44.9352 | 1.0132 | 44.7761 | 50.0366
162.088 | 2140.54 | 6.448 | 0.6 | 0.45872 | 8.3909 | 44.9316 | 1.0132 | 44.7727 | 50.0157
164.147 | 2127.26 | 6.4452 | 0.6 | 0.45652 | 8.3846 | 44.9278 | 1.0132 | 44.769 | 49.9937
166.309 | 2113.33 | 6.4423 | 0.6 | 0.4542 | 8.3779 | 44.9238 | 1.0132 | 44.7652 | 49.9707
168.58 | 2098.71 | 6.4392 | 0.6 | 0.45177 | 8.371 | 44.9196 | 1.0132 | 44.7611 | 49.9466
170.964 | 2083.36 | 6.436 | 0.6 | 0.44921 | 8.3637 | 44.9151 | 1.0132 | 44.7568 | 49.9213
173.467 | 2067.25 | 6.4326 | 0.6 | 0.44651 | 8.3561 | 44.9104 | 1.0132 | 44.7522 | 49.8948
176.095 | 2050.35 | 6.429 | 0.6 | 0.44367 | 8.3481 | 44.9054 | 1.0132 | 44.7474 | 49.867
178.855 | 2032.61 | 6.4253 | 0.6 | 0.44069 | 8.3397 | 44.9001 | 1.0132 | 44.7423 | 49.8378
181.753 | 2014 | 6.4214 | 0.6 | 0.43755 | 8.3309 | 44.8945 | 1.0132 | 44.7369 | 49.8073
184.795 | 1994.47 | 6.4173 | 0.6 | 0.43424 | 8.3217 | 44.8886 | 1.0132 | 44.7312 | 49.7753
187.99 | 1973.97 | 6.413 | 0.6 | 0.43076 | 8.3121 | 44.8823 | 1.0132 | 44.7252 | 49.7417
191.345 | 1952.47 | 6.4085 | 0.6 | 0.4271 | 8.3021 | 44.8757 | 1.0132 | 44.7187 | 49.7065
194.867 | 1929.9 | 6.4038 | 0.6 | 0.42324 | 8.2915 | 44.8686 | 1.0132 | 44.7119 | 49.6697
198.565 | 1906.23 | 6.3989 | 0.6 | 0.41918 | 8.2805 | 44.8612 | 1.0132 | 44.7047 | 49.6311
202.449 | 1881.39 | 6.3937 | 0.6 | 0.4149 | 8.2689 | 44.8532 | 1.0132 | 44.697 | 49.5907
206.526 | 1855.33 | 6.3883 | 0.6 | 0.41038 | 8.2569 | 44.8448 | 1.0132 | 44.6889 | 49.5483
210.807 | 1827.99 | 6.3827 | 0.6 | 0.40563 | 8.2442 | 44.8358 | 1.0132 | 44.6802 | 49.5039
215.303 | 1799.31 | 6.3768 | 0.6 | 0.40061 | 8.231 | 44.8263 | 1.0132 | 44.671 | 49.4574
220.023 | 1769.22 | 6.3706 | 0.6 | 0.39532 | 8.2171 | 44.8161 | 1.0132 | 44.6611 | 49.4088
224.979 | 1737.66 | 6.3641 | 0.6 | 0.38974 | 8.2027 | 44.8053 | 1.0132 | 44.6506 | 49.3578
230.183 | 1704.56 | 6.3573 | 0.6 | 0.38385 | 8.1875 | 44.7937 | 1.0132 | 44.6393 | 49.3045
235.647 | 1669.84 | 6.3501 | 0.6 | 0.37763 | 8.1717 | 44.7813 | 1.0132 | 44.6273 | 49.2486
241.384 | 1633.43 | 6.3427 | 0.6 | 0.37106 | 8.1552 | 44.768 | 1.0132 | 44.6144 | 49.1902
247.409 | 1595.24 | 6.3349 | 0.6 | 0.36412 | 8.1379 | 44.7538 | 1.0132 | 44.6006 | 49.129
253.734 | 1555.2 | 6.3267 | 0.6 | 0.35678 | 8.1199 | 44.7385 | 1.0132 | 44.5857 | 49.0649
260.376 | 1513.2 | 6.3182 | 0.6 | 0.349 | 8.1011 | 44.7221 | 1.0132 | 44.5697 | 48.9979
267.35 | 1469.17 | 6.3093 | 0.6 | 0.34077 | 8.0814 | 44.7044 | 1.0132 | 44.5524 | 48.9278
274.672 | 1423 | 6.3 | 0.6 | 0.33205 | 8.0608 | 44.6852 | 1.0132 | 44.5337 | 48.8544
282.361 | 1374.6 | 6.2902 | 0.6 | 0.3228 | 8.0394 | 44.6644 | 1.0132 | 44.5134 | 48.7777
290.434 | 1323.86 | 6.28 | 0.6 | 0.31297 | 8.017 | 44.6418 | 1.0132 | 44.4913 | 48.6974
298.91 | 1270.67 | 6.2693 | 0.6 | 0.30252 | 7.9936 | 44.6172 | 1.0132 | 44.4672 | 48.6133
307.811 | 1214.92 | 6.2582 | 0.6 | 0.29139 | 7.9692 | 44.5902 | 1.0132 | 44.4408 | 48.5254
317.157 | 1156.49 | 6.2465 | 0.6 | 0.27952 | 7.9438 | 44.5605 | 1.0132 | 44.4117 | 48.4335
326.969 | 1095.25 | 6.2343 | 0.6 | 0.26683 | 7.9172 | 44.5276 | 1.0132 | 44.3794 | 48.3372
337.273 | 1031.08 | 6.2216 | 0.6 | 0.25323 | 7.8896 | 44.4909 | 1.0132 | 44.3433 | 48.2365
348.091 | 963.846 | 6.2083 | 0.6 | 0.23862 | 7.8607 | 44.45 | 1.0132 | 44.3031 | 48.1311
359.451 | 893.403 | 6.1943 | 0.6 | 0.22287 | 7.8306 | 44.4037 | 1.0132 | 44.2576 | 48.0206
371.379 | 819.608 | 6.1798 | 0.6 | 0.20579 | 7.7991 | 44.3506 | 1.0132 | 44.2052 | 47.9049
383.903 | 742.308 | 6.1645 | 0.6 | 0.18717 | 7.7664 | 44.2885 | 1.0132 | 44.1439 | 47.7836
397.053 | 661.35 | 6.1485 | 0.6 | 0.16669 | 7.7321 | 44.2152 | 1.0132 | 44.0714 | 47.6559
410.86 | 576.57 | 6.1318 | 0.6 | 0.14389 | 7.6961 | 44.1252 | 1.0132 | 43.9823 | 47.5212
425.358 | 487.8 | 6.1141 | 0.6 | 0.11799 | 7.6583 | 44.011 | 1.0132 | 43.8691 | 47.3782
440.581 | 394.868 | 6.0953 | 0.6 | 0.087537 | 7.6183 | 43.8563 | 1.0132 | 43.7154 | 47.2249
456.565 | 297.601 | 6.075 | 0.6 | 0.048497 | 7.575 | 43.6216 | 1.0132 | 43.4819 | 47.0556
467.517 | 231.152 | 6.06 | 0.6 | 0.005037 | 7.5432 | 43.3602 | 1.0132 | 43.2214 | 46.9254
Scenario (Time varying leak) : LM_EXBN
RUBY_FRA_Rev.B_v05_jal_LM\UtilityArea\062-01-02-L\062-01-02-L_LM\LM_EXBN
LM_EXBN
Weather: 6.6/D
| Mass calculation |  |  | Tank or stagnation data |  |  | Orifice or pipe exit data (before atmospheric expansion)
Time [s] | Mass remaining [kg] | Mass flow rate [kg/s] | Discharge coefficient | Liquid height [m] | Pressure [bar] | Temperature [degC] | Pressure [bar] | Temperature [degC] | Velocity [m/s]
0 | 2393.59 | 6.5019 | 0.6 | 0.49992 | 8.5132 | 45 | 1.0132 | 44.8383 | 50.4376
123 | 2393.59 | 6.5019 | 0.6 | 0.49992 | 8.5132 | 45 | 1.0132 | 44.8383 | 50.4376
123 | 5306.76 | 6.5064 | 0.6 | 0.65187 | 8.5132 | 45 | 1.0132 | 44.8381 | 50.4724
123.105 | 5306.07 | 6.5064 | 0.6 | 0.6518 | 8.5131 | 44.9999 | 1.0132 | 44.838 | 50.4719
123.215 | 5305.35 | 6.5063 | 0.6 | 0.65173 | 8.5129 | 44.9998 | 1.0132 | 44.838 | 50.4713
123.331 | 5304.6 | 6.5062 | 0.6 | 0.65166 | 8.5128 | 44.9997 | 1.0132 | 44.8379 | 50.4708
123.453 | 5303.81 | 6.5061 | 0.6 | 0.65159 | 8.5126 | 44.9997 | 1.0132 | 44.8378 | 50.4702
123.58 | 5302.98 | 6.5061 | 0.6 | 0.65151 | 8.5124 | 44.9996 | 1.0132 | 44.8377 | 50.4695
123.714 | 5302.11 | 6.506 | 0.6 | 0.65143 | 8.5122 | 44.9995 | 1.0132 | 44.8376 | 50.4689
123.855 | 5301.19 | 6.5059 | 0.6 | 0.65134 | 8.512 | 44.9994 | 1.0132 | 44.8375 | 50.4682
124.003 | 5300.23 | 6.5058 | 0.6 | 0.65125 | 8.5118 | 44.9992 | 1.0132 | 44.8374 | 50.4674
124.158 | 5299.22 | 6.5057 | 0.6 | 0.65116 | 8.5116 | 44.9991 | 1.0132 | 44.8373 | 50.4667
124.321 | 5298.16 | 6.5056 | 0.6 | 0.65106 | 8.5114 | 44.999 | 1.0132 | 44.8372 | 50.4658
124.492 | 5297.05 | 6.5055 | 0.6 | 0.65095 | 8.5111 | 44.9989 | 1.0132 | 44.837 | 50.465
124.671 | 5295.88 | 6.5054 | 0.6 | 0.65084 | 8.5108 | 44.9987 | 1.0132 | 44.8369 | 50.4641
124.86 | 5294.66 | 6.5052 | 0.6 | 0.65073 | 8.5106 | 44.9986 | 1.0132 | 44.8368 | 50.4632
125.058 | 5293.37 | 6.5051 | 0.6 | 0.65061 | 8.5103 | 44.9984 | 1.0132 | 44.8366 | 50.4622
125.266 | 5292.02 | 6.505 | 0.6 | 0.65048 | 8.51 | 44.9983 | 1.0132 | 44.8365 | 50.4612
125.484 | 5290.6 | 6.5049 | 0.6 | 0.65034 | 8.5097 | 44.9981 | 1.0132 | 44.8363 | 50.4601
125.713 | 5289.1 | 6.5047 | 0.6 | 0.6502 | 8.5093 | 44.9979 | 1.0132 | 44.8361 | 50.4589
125.954 | 5287.54 | 6.5046 | 0.6 | 0.65006 | 8.509 | 44.9978 | 1.0132 | 44.836 | 50.4577
126.207 | 5285.9 | 6.5044 | 0.6 | 0.6499 | 8.5086 | 44.9976 | 1.0132 | 44.8358 | 50.4565
126.472 | 5284.17 | 6.5042 | 0.6 | 0.64974 | 8.5083 | 44.9974 | 1.0132 | 44.8356 | 50.4552
126.751 | 5282.36 | 6.504 | 0.6 | 0.64957 | 8.5079 | 44.9972 | 1.0132 | 44.8354 | 50.4538
127.043 | 5280.46 | 6.5039 | 0.6 | 0.64939 | 8.5074 | 44.9969 | 1.0132 | 44.8352 | 50.4523
127.35 | 5278.46 | 6.5037 | 0.6 | 0.6492 | 8.507 | 44.9967 | 1.0132 | 44.835 | 50.4508
127.673 | 5276.36 | 6.5035 | 0.6 | 0.649 | 8.5065 | 44.9965 | 1.0132 | 44.8347 | 50.4492
128.011 | 5274.16 | 6.5033 | 0.6 | 0.6488 | 8.5061 | 44.9962 | 1.0132 | 44.8345 | 50.4475
128.367 | 5271.85 | 6.503 | 0.6 | 0.64858 | 8.5055 | 44.9959 | 1.0132 | 44.8342 | 50.4458
128.74 | 5269.42 | 6.5028 | 0.6 | 0.64835 | 8.505 | 44.9957 | 1.0132 | 44.834 | 50.4439
129.132 | 5266.87 | 6.5025 | 0.6 | 0.64811 | 8.5044 | 44.9954 | 1.0132 | 44.8337 | 50.442
129.544 | 5264.2 | 6.5023 | 0.6 | 0.64785 | 8.5038 | 44.995 | 1.0132 | 44.8334 | 50.4399
129.976 | 5261.39 | 6.502 | 0.6 | 0.64759 | 8.5032 | 44.9947 | 1.0132 | 44.8331 | 50.4378
130.43 | 5258.44 | 6.5017 | 0.6 | 0.64731 | 8.5026 | 44.9944 | 1.0132 | 44.8327 | 50.4356
130.906 | 5255.34 | 6.5014 | 0.6 | 0.64702 | 8.5019 | 44.994 | 1.0132 | 44.8324 | 50.4332
131.407 | 5252.09 | 6.5011 | 0.6 | 0.64671 | 8.5012 | 44.9936 | 1.0132 | 44.832 | 50.4307
131.932 | 5248.68 | 6.5008 | 0.6 | 0.64639 | 8.5004 | 44.9932 | 1.0132 | 44.8316 | 50.4281
132.484 | 5245.09 | 6.5004 | 0.6 | 0.64605 | 8.4996 | 44.9928 | 1.0132 | 44.8312 | 50.4254
133.063 | 5241.33 | 6.5 | 0.6 | 0.6457 | 8.4988 | 44.9924 | 1.0132 | 44.8308 | 50.4225
133.671 | 5237.38 | 6.4997 | 0.6 | 0.64532 | 8.4979 | 44.9919 | 1.0132 | 44.8304 | 50.4195
134.31 | 5233.23 | 6.4993 | 0.6 | 0.64493 | 8.497 | 44.9914 | 1.0132 | 44.8299 | 50.4164
134.98 | 5228.87 | 6.4988 | 0.6 | 0.64452 | 8.4961 | 44.9909 | 1.0132 | 44.8294 | 50.4131
135.684 | 5224.3 | 6.4984 | 0.6 | 0.64409 | 8.4951 | 44.9904 | 1.0132 | 44.8289 | 50.4096
136.423 | 5219.5 | 6.4979 | 0.6 | 0.64363 | 8.494 | 44.9898 | 1.0132 | 44.8284 | 50.4059
137.199 | 5214.45 | 6.4974 | 0.6 | 0.64315 | 8.4929 | 44.9892 | 1.0132 | 44.8278 | 50.4021
138.014 | 5209.16 | 6.4969 | 0.6 | 0.64265 | 8.4917 | 44.9886 | 1.0132 | 44.8272 | 50.3981
138.87 | 5203.61 | 6.4964 | 0.6 | 0.64213 | 8.4905 | 44.9879 | 1.0132 | 44.8266 | 50.3938
139.769 | 5197.77 | 6.4958 | 0.6 | 0.64158 | 8.4892 | 44.9873 | 1.0132 | 44.8259 | 50.3894
140.712 | 5191.65 | 6.4952 | 0.6 | 0.64099 | 8.4879 | 44.9865 | 1.0132 | 44.8252 | 50.3847
141.703 | 5185.21 | 6.4946 | 0.6 | 0.64038 | 8.4865 | 44.9858 | 1.0132 | 44.8245 | 50.3798
142.743 | 5178.46 | 6.4939 | 0.6 | 0.63974 | 8.485 | 44.985 | 1.0132 | 44.8237 | 50.3747
143.835 | 5171.37 | 6.4932 | 0.6 | 0.63907 | 8.4834 | 44.9841 | 1.0132 | 44.8229 | 50.3693
144.982 | 5163.93 | 6.4925 | 0.6 | 0.63836 | 8.4818 | 44.9833 | 1.0132 | 44.8221 | 50.3637
146.186 | 5156.11 | 6.4918 | 0.6 | 0.63762 | 8.4801 | 44.9823 | 1.0132 | 44.8212 | 50.3577
147.45 | 5147.91 | 6.491 | 0.6 | 0.63684 | 8.4783 | 44.9814 | 1.0132 | 44.8203 | 50.3515
148.777 | 5139.3 | 6.4901 | 0.6 | 0.63602 | 8.4764 | 44.9803 | 1.0132 | 44.8193 | 50.345
150.171 | 5130.25 | 6.4893 | 0.6 | 0.63516 | 8.4744 | 44.9793 | 1.0132 | 44.8182 | 50.3381
151.635 | 5120.76 | 6.4883 | 0.6 | 0.63426 | 8.4723 | 44.9781 | 1.0132 | 44.8171 | 50.3309
153.172 | 5110.79 | 6.4874 | 0.6 | 0.63331 | 8.4701 | 44.9769 | 1.0132 | 44.816 | 50.3233
154.785 | 5100.32 | 6.4863 | 0.6 | 0.63232 | 8.4679 | 44.9757 | 1.0132 | 44.8148 | 50.3154
156.479 | 5089.34 | 6.4853 | 0.6 | 0.63127 | 8.4654 | 44.9743 | 1.0132 | 44.8135 | 50.3071
158.258 | 5077.8 | 6.4842 | 0.6 | 0.63017 | 8.4629 | 44.9729 | 1.0132 | 44.8122 | 50.2983
160.126 | 5065.69 | 6.483 | 0.6 | 0.62901 | 8.4603 | 44.9715 | 1.0132 | 44.8108 | 50.2891
162.088 | 5052.98 | 6.4818 | 0.6 | 0.6278 | 8.4575 | 44.9699 | 1.0132 | 44.8093 | 50.2795
164.147 | 5039.63 | 6.4805 | 0.6 | 0.62652 | 8.4546 | 44.9683 | 1.0132 | 44.8078 | 50.2694
166.309 | 5025.62 | 6.4791 | 0.6 | 0.62518 | 8.4515 | 44.9666 | 1.0132 | 44.8061 | 50.2588
168.58 | 5010.91 | 6.4777 | 0.6 | 0.62377 | 8.4483 | 44.9648 | 1.0132 | 44.8044 | 50.2477
170.964 | 4995.47 | 6.4762 | 0.6 | 0.62229 | 8.445 | 44.9629 | 1.0132 | 44.8026 | 50.236
173.467 | 4979.26 | 6.4746 | 0.6 | 0.62074 | 8.4414 | 44.9609 | 1.0132 | 44.8007 | 50.2238
176.095 | 4962.25 | 6.473 | 0.6 | 0.6191 | 8.4377 | 44.9588 | 1.0132 | 44.7986 | 50.2109
178.855 | 4944.38 | 6.4713 | 0.6 | 0.61738 | 8.4338 | 44.9566 | 1.0132 | 44.7965 | 50.1974
181.753 | 4925.63 | 6.4695 | 0.6 | 0.61558 | 8.4298 | 44.9543 | 1.0132 | 44.7943 | 50.1833
184.795 | 4905.95 | 6.4676 | 0.6 | 0.61368 | 8.4255 | 44.9518 | 1.0132 | 44.7919 | 50.1684
187.99 | 4885.29 | 6.4656 | 0.6 | 0.61169 | 8.421 | 44.9492 | 1.0132 | 44.7894 | 50.1528
191.345 | 4863.61 | 6.4635 | 0.6 | 0.60959 | 8.4163 | 44.9465 | 1.0132 | 44.7868 | 50.1365
194.867 | 4840.84 | 6.4613 | 0.6 | 0.60739 | 8.4114 | 44.9436 | 1.0132 | 44.7841 | 50.1194
198.565 | 4816.95 | 6.459 | 0.6 | 0.60507 | 8.4062 | 44.9406 | 1.0132 | 44.7811 | 50.1014
202.449 | 4791.87 | 6.4566 | 0.6 | 0.60264 | 8.4008 | 44.9374 | 1.0132 | 44.7781 | 50.0825
206.526 | 4765.55 | 6.4541 | 0.6 | 0.60008 | 8.3952 | 44.9341 | 1.0132 | 44.7748 | 50.0628
210.807 | 4737.93 | 6.4514 | 0.6 | 0.59739 | 8.3892 | 44.9305 | 1.0132 | 44.7714 | 50.042
215.303 | 4708.93 | 6.4486 | 0.6 | 0.59456 | 8.383 | 44.9268 | 1.0132 | 44.7678 | 50.0203
220.023 | 4678.5 | 6.4457 | 0.6 | 0.59158 | 8.3765 | 44.9228 | 1.0132 | 44.764 | 49.9975
224.979 | 4646.56 | 6.4427 | 0.6 | 0.58845 | 8.3696 | 44.9186 | 1.0132 | 44.76 | 49.9736
230.183 | 4613.04 | 6.4395 | 0.6 | 0.58516 | 8.3624 | 44.9142 | 1.0132 | 44.7557 | 49.9485
235.647 | 4577.86 | 6.4361 | 0.6 | 0.58169 | 8.3549 | 44.9096 | 1.0132 | 44.7512 | 49.9222
241.384 | 4540.95 | 6.4326 | 0.6 | 0.57805 | 8.347 | 44.9046 | 1.0132 | 44.7465 | 49.8946
247.409 | 4502.2 | 6.4289 | 0.6 | 0.57422 | 8.3388 | 44.8994 | 1.0132 | 44.7415 | 49.8657
253.734 | 4461.55 | 6.425 | 0.6 | 0.57018 | 8.3302 | 44.8939 | 1.0132 | 44.7361 | 49.8354
260.376 | 4418.89 | 6.421 | 0.6 | 0.56593 | 8.3211 | 44.8881 | 1.0132 | 44.7305 | 49.8037
267.35 | 4374.13 | 6.4167 | 0.6 | 0.56146 | 8.3116 | 44.8819 | 1.0132 | 44.7245 | 49.7704
274.672 | 4327.15 | 6.4123 | 0.6 | 0.55675 | 8.3017 | 44.8753 | 1.0132 | 44.7182 | 49.7356
282.361 | 4277.87 | 6.4076 | 0.6 | 0.5518 | 8.2913 | 44.8684 | 1.0132 | 44.7115 | 49.699
290.434 | 4226.16 | 6.4027 | 0.6 | 0.54658 | 8.2805 | 44.861 | 1.0132 | 44.7044 | 49.6607
298.91 | 4171.9 | 6.3976 | 0.6 | 0.54108 | 8.2691 | 44.8532 | 1.0132 | 44.6968 | 49.6206
307.811 | 4114.98 | 6.3922 | 0.6 | 0.53528 | 8.2572 | 44.8449 | 1.0132 | 44.6888 | 49.5786
317.157 | 4055.27 | 6.3866 | 0.6 | 0.52917 | 8.2447 | 44.836 | 1.0132 | 44.6802 | 49.5345
326.969 | 3992.63 | 6.3808 | 0.6 | 0.52273 | 8.2317 | 44.8266 | 1.0132 | 44.6711 | 49.4884
337.273 | 3926.91 | 6.3746 | 0.6 | 0.51594 | 8.2181 | 44.8166 | 1.0132 | 44.6614 | 49.4401
348.091 | 3857.98 | 6.3681 | 0.6 | 0.50877 | 8.2038 | 44.8059 | 1.0132 | 44.651 | 49.3896
359.451 | 3785.68 | 6.3614 | 0.6 | 0.50121 | 8.1889 | 44.7945 | 1.0132 | 44.6399 | 49.3366
371.379 | 3709.84 | 6.3543 | 0.6 | 0.49323 | 8.1733 | 44.7823 | 1.0132 | 44.6281 | 49.2812
383.903 | 3630.31 | 6.3469 | 0.6 | 0.48479 | 8.157 | 44.7692 | 1.0132 | 44.6154 | 49.2231
397.053 | 3546.89 | 6.3392 | 0.6 | 0.47588 | 8.14 | 44.7552 | 1.0132 | 44.6018 | 49.1624
410.86 | 3459.42 | 6.3311 | 0.6 | 0.46646 | 8.1222 | 44.7402 | 1.0132 | 44.5872 | 49.0988
425.358 | 3367.69 | 6.3226 | 0.6 | 0.45648 | 8.1036 | 44.7241 | 1.0132 | 44.5715 | 49.0322
440.581 | 3271.5 | 6.3138 | 0.6 | 0.44593 | 8.0842 | 44.7066 | 1.0132 | 44.5544 | 48.9625
456.565 | 3170.66 | 6.3045 | 0.6 | 0.43474 | 8.064 | 44.6878 | 1.0132 | 44.5361 | 48.8896
473.349 | 3064.93 | 6.2948 | 0.6 | 0.42287 | 8.0428 | 44.6674 | 1.0132 | 44.5162 | 48.8133
490.971 | 2954.09 | 6.2847 | 0.6 | 0.41027 | 8.0207 | 44.6452 | 1.0132 | 44.4945 | 48.7335
509.474 | 2837.89 | 6.274 | 0.6 | 0.39687 | 7.9977 | 44.6211 | 1.0132 | 44.4709 | 48.65
528.903 | 2716.11 | 6.2629 | 0.6 | 0.38262 | 7.9736 | 44.5946 | 1.0132 | 44.445 | 48.5626
549.303 | 2588.46 | 6.2514 | 0.6 | 0.36742 | 7.9485 | 44.5655 | 1.0132 | 44.4164 | 48.4711
570.724 | 2454.69 | 6.2392 | 0.6 | 0.35118 | 7.9224 | 44.5334 | 1.0132 | 44.385 | 48.3754
593.215 | 2314.5 | 6.2265 | 0.6 | 0.33379 | 7.8951 | 44.4977 | 1.0132 | 44.35 | 48.2752
616.83 | 2167.62 | 6.2133 | 0.6 | 0.31512 | 7.8666 | 44.4577 | 1.0132 | 44.3107 | 48.1703
641.627 | 2013.72 | 6.1994 | 0.6 | 0.295 | 7.8369 | 44.4124 | 1.0132 | 44.266 | 48.0604
667.663 | 1852.5 | 6.1849 | 0.6 | 0.27322 | 7.8059 | 44.3606 | 1.0132 | 44.2149 | 47.9452
695.002 | 1683.63 | 6.1697 | 0.6 | 0.24952 | 7.7736 | 44.3009 | 1.0132 | 44.156 | 47.8244
723.707 | 1506.76 | 6.1538 | 0.6 | 0.22351 | 7.7398 | 44.2302 | 1.0132 | 44.0861 | 47.6974
753.847 | 1321.53 | 6.1371 | 0.6 | 0.19465 | 7.7044 | 44.1445 | 1.0132 | 44.0013 | 47.5634
785.494 | 1127.59 | 6.1194 | 0.6 | 0.16206 | 7.6672 | 44.0365 | 1.0132 | 43.8942 | 47.4209
818.724 | 924.554 | 6.1007 | 0.6 | 0.12415 | 7.6278 | 43.8951 | 1.0132 | 43.7539 | 47.2685
853.615 | 712.042 | 6.0806 | 0.6 | 0.077024 | 7.5857 | 43.6867 | 1.0132 | 43.5466 | 47.1021
886.489 | 512.479 | 6.06 | 0.6 | 0.0065679 | 7.5431 | 43.3583 | 1.0132 | 43.2195 | 46.9256